땅밀림 계측장비 유지관리 및 모니터링 연구

김가희1*, 이광연1, 윤석희1, 김동현1, 이종서1, 서준표2, 이창우2

(1한국치산기술협회 정보분석실, 2국립산림과학원 산사태연구과)

A Study of Land Creep Measurement System Maintenance

and Monitoring

Gahui Kim1*,  Kwangyoun Lee1, Sukhee Yoon1, Donghyeon Kim1, Jongseo Lee1,

Junpyo Seo2, Changwoo Lee2

(1Information Management and Data Analytics Team, Korea Association of Forest

Enviro-Conservation Technology,

2Landslide Division, Forest Disaster and Environmental Research Department,

National Institute of Forest Science)

요약: 산림청은 땅밀림 발생 우려지에 대한 위험성을 실시간으로 모니터링하기 위하여 땅밀림 발생 우려지 40개소에 계측 센서를 설치·운용하고 있다. 본 연구는 땅밀림 계측 장비의 효율적인 운용 및 계측 연구를 위해 2024년 계측 장비 유지관리 및 모니터링 결과를 소개하고자 한다. 유지관리는 연 1회 계측 장비 설치 개소에 방문하여 환경정비 및 계측 장비의 외관과 성능을 점검하는 정기점검과 지진 및 폭우 등에 따른 긴급점검으로 구분된다. 2024년 기준, 설치 대상지에 대한 정기점검과 16회의 긴급점검을 진행했다. 풍도목, 부대시설 불량 등 외관 이상이 발생한 개소는 15개소였으며, 작동 불능, 통신 불량, 전력 이상 등 성능 이상이 발생한 곳은 29개소였다. 또한, 장비의 내용연수가 도래함에 따라 계측 장비의 결측 일수 및 오경보가 증가하였다. 점검의 주요 착안 사항으로 외관 및 성능 이상에 대응하기 위한 지속적인 유지관리가 필요하며, 계측 장비의 점진적인 교체를 통한 원활한 계측 시스템 유지를 도모해야 할 것으로 판단한다. 본 연구의 결과는 향후 계측 장비 신규 설치 및 운용에 기초자료로써 활용될 것으로 기대된다.

Abstract: This study presents the efficient operation and maintenance of the Land Creep measurement system of the Korea Forest Service. In 2024, regular field investigations were conducted once a year and 16 emergency field investigations were performed on the 40 monitoring stations. The field investigation results revealed external issues at 15 stations and performance issues at 29 stations. Due to the aging of the equipments, the number of missing data and false alarms increased. The study concludes that continuous maintenance and gradual equipment replacement are necessary. The results of this study are expected to serve as reference material for future installation and operation of monitoring equipment.

사사: 본 연구는 산림청(한국임업진흥원) 산림과학기술 연구개발사업´(RS-2024-00404816)´의 지원에 의하여 이루어진 것입니다.